## Sheet1
Standard Label | Actual Concentration | Target Conc. (µg/mL) (C2) | Total Volume Wanted (uL) | Volume remaining | Total Volume Aquired | Theoretical Std Volume to add (µL) (V1) | Theoretical Std Volume to add (mg) (V1) | adjusted Theoretical Std Volume to add (mL) (V1) | Micropippette settimg | adjusted Theoretical Std Volume to add (mg) (V1) | Actual Std Volume added (mg) | Actual Std Volume added (uL) | Theoretical Diluent volume to add (uL) | Adjusted Diluent Volume to add (mg) | Actual Diluent volume added (mg) | Actual Diluent Volume added (uL) | Dilution Factor | Peak Area | Observed Purities | RT | %RSD RT
Std 1 | 12.8116 | 12.5 | 300 | 309.7665 | 309.7665 | 150 | 145.0286 | 152.3764 | 76.1882 | 147.3262 | 150.09 | 155.2349 | 150 | 145.0286 | 149.41 | 154.5316 | 1.9955 | 56.986 |  | 7.643 | 0.19589
Std 2 | 25.1768 | 25 | 300 | 149.474 | 304.7089 | 150 | 145.0286 | 148.4091 | 74.2045 | 143.4904 | 145.83 | 150.8289 | 150 | 145.0286 | 148.78 | 153.88 | 2.0202 | 107.767 |  | 7.633
Std 3 | 50.9216 | 50 | 300 | 157.9551 | 308.784 | 150 | 145.0286 | 152.2179 | 76.1089 | 147.1729 | 148.98 | 154.0869 | 150 | 145.0286 | 149.57 | 154.6971 | 2.004 | 214.682 |  | 7.631
Std 4 | 100.8144 | 100 | 300 | 150.9737 | 305.0606 | 120 | 116.0229 | 121.5126 | 60.7563 | 117.4853 | 119.09 | 123.1723 | 180 | 174.0343 | 175.86 | 181.8883 | 2.4767 | 411.407 | 96.743 | 7.624
Std 5 | 249.6868 | 250 | 300 | 183.3777 | 306.5499 | 75.8364 | 73.323 | 77.525 | 38.7625 | 74.9556 | 74.83 | 77.3951 | 224.1636 | 216.7341 | 221.56 | 229.1548 | 3.9608 | 1021.457 | 97.847 | 7.603
Serial Dilution
[5 empty] | Weight Vial and cap (mg) | Weight of Vial cap and Diluent (mg) | Weight of Vial cap and Diluent and sample (mg) | [9 empty] | 9.8098
|  |  |  | 12.5 | 2915.57 | 3064.98 | 3215.07
|  |  |  | 25 | 2942.24 | 3091.02 | 3236.85
|  |  |  | 50 | 2933.47 | 3083.04 | 3232.02
|  |  |  | 100 | 2921.76 | 3097.62 | 3216.71
|  |  |  | 250 | 2943.93 | 3165.49 | 3240.32
|  |  |  | Stock | 1574.1 | 2551.74
Stock calculation
Stock Conc. (µg/mL) (C1) | weight (mg) | weight (mg) From COA | Actual Volume added (mL) | Actual Volume added (mg) | Target Buffer B volume (mg) | Theoretical Buffer B volume (mL) | Purity From COA
988.9705 |  | 1 | 1.0112 | 977.64 | 966.8571 | 1 | 98%
Cap Color
Light Purple
API Stock Conc. (µg/mL) (C1) | API weight (mg) | Water added volume (mL) | ACN added (mL) | ACN added mg | percent ACN | percent water | Total volume added (mL)
#DIV/0! |  |  |  |  | #DIV/0! | #DIV/0! | 0
API Target conc | Actual Conc (µg/mL) | Actual volume added (µL) | Theoretical volume to be added Volume (µL) (V1) | Diluent Volume (µL) | Dilution Factor | Total Volume (uL)
200 | #DIV/0! | 4000 | #DIV/0! | 6000 | 2.5 | 10000
Std 4
Injection | Unknown Peak area | Observed Purities | Average Unknown Peak area | Determined Concentration (µg/mL) | Dilution Factor | Undiluted Concentration (ug/mL) | mass (ug) | Determined mass (mg) | Purity | Purity (Area%)
1 | 602.453 | 98.268 | 602.453 | 146.8913 | 9.8098 | 1440.9767 | 1457.0471 | 1.457 | 45.7% | 98.27%
2
3
Data Comparison Valence Analytical vs COAs
| Determined Weight (mg) | COA Weight/Provided Weight (mg) | Weight Percent Error | Determined Purity (%) | COA Purity/Provided Purity (%) | Purity Percent Error
| 1.457 | 1 | 45.7% | 98.27% | 98% | 0.2735%
Density of ACN g/mL | Density of ACN mg/mL
0.786 | 786
166.6667
Solvent Dissolution
| Water amount added (uL) | Concentration of DMF in Sample (%) | Concentration of Water in sample (%) | Concentration of ACN in sample (%) | Volume of DMF added (uL) | Volume of Water added (uL) | Volume of ACN added (uL)
| 6000 | 0% | 100% | 0% | 0 | 6000 | 0
| ACN Volume Added (uL) | Concentration of DMF in Sample (%) | Concentration of Water in sample (%) | Concentration of ACN in sample (%) | Volume of DMF added (uL) | Volume of Water added (uL) | Volume of ACN added (uL)
| 1000 | 0% | 0% | 100% | 0 | 0 | 1000
| Total volume (uL) | Percent DMF in dissolution (%) | Percent Water in dissolution (%) | Percent ACN in dissolution
| 7000 | 0 | 85.71% | 14.29%
| Density of water (mg/mL) | Density of ACN (mg/mL) | Overall Diluent Density (mg/mL)
| 997 | 786 | 966.8571
753
958.0153